FABRICATION OF WATER DOCTOR WITH TEMPERATURE CUTOFF

Synopsis

Introduction

Water heating is a thermodynamic process using an energy source to heat water above its initial temperature. Typical domestic uses of hot water are for cooking, cleaning, bathing, and space heating. In industry, both hot water and water heated to steam have many uses.

Domestically, water is traditionally heated in vessels known as water heaters, These metal vessels heat a batch of water but do not produce a continual supply of heated water at a preset temperature. The temperature will vary based on the consumption rate of hot water, use more and the water becomes cooler.

Scope of the project

Appliances for providing a more-or-less constant supply of hot water are variously known as water heaters, hot water heaters, hot water tanks, boilers, heat exchangers, calorifiers, or geysers depending on whether they are heating potable or non-potable water, in domestic or industrial use, their energy source, and in which part of the world they are found. In domestic installations, potable water heated for uses other than space heating is sometimes known as domestic hot water (DHW).

Working principles

Water heaters potentially can explode and cause significant damage, injury, or death if certain safety devices are not installed. When the water temperature exceeds 100 °C (212 °F), the water will remain a liquid inside the tank, but when the pressure is released as the water comes out the tap the water will boil, potentially inflicting steam burns. Water above about 88 °C (190 °F) will cause burns on contact. A safety device called a temperature and pressure relief (T&P or TPR) valve, is normally fitted on the top of the water heater to dump water if the temperature or pressure becomes too high

Fabrication of water doctor with temperature cutoff

Expected outcome

Temperature is maintain in constant always